IsomerAPI First Steps

A short user manual for opening the program, filtering isotope data, drawing level schemes, and exporting transmission information.

Who this is for: New users who need to operate IsomerAPI. This document avoids developer details and focuses on the first practical steps.

# 1. Start the Program

Open the IsomerAPI install folder.

Run IsomerAPI.exe from the install folder, not from a copied location.

Wait for the main window to open and the table data to load.

| Build | Executable | Required nearby folder |
| --- | --- | --- |
| MinGW | _install/IsomerAPI.exe | _install/lisecfg/ |
| MSVC | _install_MSVC/IsomerAPI.exe | _install_MSVC/lisecfg/ |

Important: The database file nndc_DB_fullScan.sqlite must stay inside the lisecfg folder beside the executable. If the database is missing, the tables cannot load.

# 2. Understand the Main Window

The main window has table displays on the left and controls on the right. Use the Table Displays buttons to switch between views.

| View | What it shows | When to use it |
| --- | --- | --- |
| Isomers | One row per isomer level after filtering. | Best starting point for most searches. |
| Gammas | Gamma-transition rows after filtering. | Use when you care about gamma energy and intensity. |
| Isomers / Gammas | Split display with both isomer and gamma tables. | Use for comparing levels and transitions together. |
| Development Table | Full internal table model. | Use only for checking raw database/model behavior. |

# 3. Default First View

On startup, IsomerAPI opens on the Isomers page and applies a starter filter. This gives a small, useful data slice instead of loading an unrestricted view first.

| Filter | Startup value |
| --- | --- |
| T1/2 | 0.1 to 10 microseconds |
| Mass number A_IT | 50 to 80 |
| Energy level | 0 to 4000 keV |

# 4. Apply a Filter

Enter a lower and/or upper limit in the filter fields.

Choose a source from the Source list, or keep All Sources.

Click Apply Filters or press Enter.

Check the summary statistics to confirm that the result set changed.

| Goal | Fields to use | Example |
| --- | --- | --- |
| Find a mass range | Mass number A_IT range | 50 to 80 |
| Find one isotope mass | Mass number exact search | 68 |
| Find an element | Proton number Z_IT | Co or 27 |
| Limit half-life | T1/2 range | 0.1 to 10 |
| Limit excitation energy | Energy Level range | 0 to 4000 keV |
| Limit gamma energy | gamma-energy range | 100 to 500 keV |

Tip: For Z_IT, you can type either the proton number or an element symbol. For example, Fe and 26 refer to the same element.

# 5. Clear Filters or Selection

Click Clear Filters or press C to empty the filters and refresh the tables.

Press Esc to clear selected rows in the current table view.

Use Apply Filters again after entering new values.

# 6. Draw a Level Scheme

Apply filters until the isotope set is reasonable.

Click Draw Scheme or press D.

If prompted, choose the filtered-results option.

Use the isotope menu in the scheme window to switch between filtered isotopes.

Use the NNDC menu items to open reference records for the current isotope.

Plot behavior: Transition line thickness is proportional to I_GAMMA. The scheme window is intended for visual inspection and comparison with NNDC records.

# 7. Export Transmission Information

Apply filters so the isotope of interest is included in the current results.

Open Calculate -> Isomer Transmission.

Enter A as the mass number.

Enter Z as either a proton number or an element symbol.

Choose where to save the text output.

| Output record | Meaning |
| --- | --- |
| LVL | Level record: level energy, uncertainty, IT ratio, half-life, half-life uncertainty, spin/parity. |
| GAM | Gamma record: gamma energy, uncertainty, parent level energy, level uncertainty, spin/parity, intensity, multipolarity. |

# 8. Common Problems

| Problem | What to check |
| --- | --- |
| Tables are empty at startup | Confirm nndc_DB_fullScan.sqlite exists under lisecfg beside IsomerAPI.exe. |
| A known isotope is not exported | Clear or adjust filters first; transmission export uses the currently filtered isotope map. |
| Z search gives no results | Try the numeric proton number instead of the symbol, or clear exact-search fields that may conflict. |
| Scheme window has too many isotopes | Narrow A_IT, Z_IT, T1/2, or LEVEL filters before drawing. |
| External NNDC page does not open | Check internet/browser availability on the workstation. |

# 9. Keyboard Shortcuts

| Shortcut | Action |
| --- | --- |
| Enter | Apply filters |
| C | Clear filters |
| D | Draw scheme |
| Esc | Clear current table selection |

# 10. First-Use Checklist

Start IsomerAPI.exe from the install folder.

Confirm the Isomers table appears.

Adjust A_IT, Z_IT, T1/2, LEVEL, or gamma-energy filters.

Click Apply Filters.

Review summary statistics.

Open Draw Scheme for visual inspection.

Use Calculate -> Isomer Transmission when text export is needed.